ADDENDUM 3

TCAT, INC. Request for Proposal (RFP) 1201-2017 Modifications

October 13, 2017

Please note that this document serves as Addendum 3 to TCAT, Inc.’s RFP 1201-2017 for Bus Lifts and Bus Wash System Replacement.

Bid Addendum 1 – Page 27 – E. Electronic Program Control Panel with Electric Power Unit

Change to single phase as currently being utilized.

Bid Addendum 1 – Page 28 – L. Optional Accessories – RJ42 Rolling Jacks

Change to RJ25: Rolling Jacks 25,000 LB capacity – 100 psi minimum – 120 psi maximum required. Quantity of units: 2

RFP – Section 14 45 00 – 2.4 Heavy Duty and 2.5 Light Duty – Optional Accessories

Add line to reflect the optional accessories; Two Rolling Jacks at half the capacity of the total unit; 15,000 lbs. for heavy duty; 9,000 lbs. for the light duty.

All existing specifications, terms, conditions and proposal components remain the same.

Raymond Lalley

Purchasing and Projects Manager

TCAT, 737 Willow Ave, Ithaca, NY 14850

(607) 277-9388 ext. 540 | Fax (607) 277-9551

rl1@tcatmail.com